## Cover Sheet
Analytical Cover Sheet
QAPP: | In Vitro TK Assessments of PFAS (D-CED-0031343)
Analysis Set ID: | 2021_PFAS_PPB_UC_Group8_ALK | *Ultracentrifugation assay to assess plasma protein binding with PFAS acids
Analytes: |  | PFAS
Dates Prepared: | 2021-11-16 | PPB_CC
Assay Preparer: | ALK
Dates Prepared: | 2021-11-16 | PPB_UC
Dates of MS Run, resp.: | 2021-11-16
Assay Preparer: | ALK
Report Preparer: | ALK
Sample Type: | Standards, QCs, Unknown Analyte Samples | CC1-CC15
Internal Standard (conc) | 2-Perfluorobutyl-[1,1,2,2-2H4]-ethanol ; 2-Perfluorooctyl-[1,1-2H2]-[1,2-13C2]-ethanol (8:2) [lot ] (3 pg/uL); 13C6-4-Nitrotoluene [lot SDFK-011] (3 pg/uL) | Alcohols; Ref
Total # Samples (not including blanks): | 62
MDL Calculation |  |  |  | References:
|  |  |  | 40 CFR Part 136 | https://www.ecfr.gov/cgi-bin/text-idx?SID=a6bb8a02b6d783f9356758b5ff0ed106&mc=true&node=pt40.25.136&rgn=div5
EPA Definition and Procedure for the Determination of the Method Detection Limit, Revision 2 (December 2016)
eLOQ Definition | Lowest curve concentration at which precision checks can be quantitated against curve ±30%
QC Samples and Acceptance Criteria:
QC Type | Description | Acceptance Criteria | Type
QC Sample Type | Frequency | Acceptance Criteria | QC Metric | Corrective Action
(Analytical, TK Assay, or Both) |  |  | Assessed | if QC Fails
Calibration Curve Linearity (Analytical) | 1 each run | r2≥0.98; | Linearity | Rerun samples and curve
7-pt curve min.
Curve Check (Analytical) | 2-3 samples per run | 75-125 % | Accuracy | Flag in comments
Instrument Blanks (Analytical) | 1 every 6-10 injections | <½ LOD of instrument method | Specificity | Flag in comments, assess and resolve
Technical Replicate assessment | Every assay sample | 75-125% | Precision | Flag in comments
Reference Chemical(s) (Assay) | 1 per assay batch | RSD = ±20% of historical or published values | Reproducibility | Flag in comments
Analyte-IS Matching
Analyte | Name | Sample ID | IS | Reference Compound | Avg. MW | Flags
DTXSID5059828 | 1-Iodopentadecafluoroheptane | 513 | MFBET | 4-nitrotoluene | 495.958 | All QC points outside 30% tolerance, fu>1, clearly there's a stability issue in the plasma that isn't present in the AF, stability<50%, something appears off w/ AFS2a- exclude
DTXSID50184723 | 1H,1H-Perfluorooctylamine | 268 | MFBET |  | 399.103 | stability <50%, something appears off w/ AFS2a- exclude
DTXSID90190949 | 1,6-Diiodoperfluorohexane | 275 | MFOET |  | 553.856 | something appears off w/ AFS2a- exclude
DTXSID7060332 | (Perfluorobutyryl)-2-thenoylmethane | 812 | MFOET |  | 322.2 | something appears off w/ AFS2a- exclude, fu<0.0063, based on eLOQ
Sample ID Key
CC | Calibration Curve
QC | Quality Check
UC_S#letterAF | Ultracentrifugation Assay_Mix Replicate Aqueous Fraction
UC_S#letterT# | Ultracentrifugation Assay_Mix Replicate Stability Timepoint
Review of Data Timeline
Person | Action
MJP | Assay conducted 11/16/2021
MSC | Analytical data generated 12/9/2021
ALK | QC Report completed 12/19/2021
Additional Notes
Concentrations listed are the post crash concentrations, unless otherwise specified

## Executive Summary
Executive Summary
|  | Quantitative Limits |  |  | Plasma Protein Binding
DTXSID | Name | Sample ID | LOD (nM) | eLOQ (nM) | 1-Iodopentadecafluoroheptane |  |  |  | 1H,1H-Perfluorooctylamine
DTXSID5059828 | 1-Iodopentadecafluoroheptane | 513 | 27.19 | 1.75 | Sample Text | Avg. Measured Conc. (μM) | GC Date | Fraction Unbound (Fu) | Sample Text | Avg. Measured Conc. (μM) | GC Date | Fraction Unbound (Fu)
DTXSID50184723 | 1H,1H-Perfluorooctylamine | 268 | 10.5 | 5 | AF | 1.7694 | 2021-11-16 | 1.4449 | AF | 0.17692 | 2021-11-16 | 0.13428
DTXSID90190949 | 1,6-Diiodoperfluorohexane | 275 | 1.51 | 1.75 | [7 empty] | 0.60148
DTXSID7060332 | (Perfluorobutyryl)-2-thenoylmethane | 812 | 21.44 | 7.5 | [7 empty] | 0.45042
DTXSID4059914 | 4-nitrotoluene | 4NT | 2.45 | 1.75 | T1h | 7.7823 | Flags: |  | T1h | 4.761 | stability<50%
[7 empty] | fu>1, clearly there's a stability issue in the plasma that isn't present in the AF |  |  |  | something appears off w/ AFS2a- exclude
stability<50%
[5 empty] | T5h | 1.2382 | All QC points for 513 outside 30% tolerance |  | T5h | 1.3801
something appears off w/ AFS2a- exclude
Flags |  |  |  |  | 1,6-Diiodoperfluorohexane |  |  |  | (Perfluorobutyryl)-2-thenoylmethane
All QC points for 513 outside 30% tolerance |  |  |  |  | Sample Text | Avg. Measured Conc. (μM) | GC Date | Fraction Unbound (Fu) | Sample Text | Avg. Measured Conc. (μM) | GC Date | Fraction Unbound (Fu)
fu>1, clearly there's a stability issue in the plasma that isn't present in the AF |  |  |  |  | AF | 1.3429 | 2021-11-16 | 0.2675 | AF | 0.042426 | 2021-11-16 | 0.0062846
fu<0.0063, based on eLOQ | [7 empty] | 0.60092 |  |  |  | 0.99293
stability<50% | [7 empty] | NA
something appears off w/ AFS2a- exclude |  |  |  |  | T1h | 7.4671 | something appears off w/ AFS2a- exclude |  | T1h | 7.4671 | something appears off w/ AFS2a- exclude
fu<0.0063, based on eLOQ
[5 empty] | T5h | 5.1115 |  |  | T5h | 7.5301

## FractionUnbound
Ultracentrifugation Plasma protein binding assay - Experimental data and Fu calculations
|  |  |  | Mean | SD | CV | Mean |  | Time 1 hr |  |  | Time 5 hr |  |  | Aqueous Fraction |  |  | Fraction Unbound (fu) |  |  | Stability (T5hr/ T1hr)
DTXSID | Chemical | AbbrevSampleID | CAS# | Fu | Fu | Fu | Stability | UC Assay Date | [15 empty] | t test
DTXSID5059828 | 1-Iodopentadecafluoroheptane | 513 | 335-58-0 | 1.4449 | 0.2702 | 18.7 | 0.15919 | Run-specific Avg | 7782.2938 |  |  | 1238.211 |  |  | 1769.404 |  |  | 1.4449 | * |  | 0.15911 |  |  | 0.0007576
DTXSID5059828 | 1-Iodopentadecafluoroheptane | [6 empty] | Run-specific CV | [9 empty] | NA
DTXSID5059828 | 1-Iodopentadecafluoroheptane | [7 empty] | A | B | C | A | B | C | A | B | C | A | B | C | A | B | C
DTXSID5059828 | 1-Iodopentadecafluoroheptane | [7 empty] | 8058.3111 | 7394.251 | 7894.3195 | 1257.2712 | 1197.5601 | 1259.8018 | 3257.7312 | 1959.1895 | 1579.6184 | 2.5911 | 1.636 | 1.2539 | 0.15602 | 0.16196 | 0.15958
DTXSID50184723 | 1H,1H-Perfluorooctylamine | 268 | 307-29-9 | 0.13428 | 0.089226 | 66.4487 | 0.28975 | Run-specific Avg | 4760.9517 |  |  | 1380.1222 |  |  | 176.9181 |  |  | 0.13428 |  |  | 0.28988 |  |  | 0.00049959
[8 empty] | Run-specific CV | [9 empty] | 66.4487
[9 empty] | A | B | C | A | B | C | A | B | C | A | B | C | A | B | C
[9 empty] | 4965.2347 | 4546.3974 | 4771.2232 | 1442.8448 | 1282.3305 | 1415.1914 | 1227.803 | 253.0946 | 100.7416 | 0.85096 | 0.19737 | 0.071186 | 0.29059 | 0.28205 | 0.29661
DTXSID90190949 | 1,6-Diiodoperfluorohexane | 275 | 375-80-4 | 0.2675 | 0.057306 | 21.4232 | 0.68522 | Run-specific Avg | 7467.0641 |  |  | 5111.498 |  |  | 1342.9015 |  |  | 0.2675 |  |  | 0.68454 |  |  | 0.0065472
[8 empty] | Run-specific CV | [9 empty] | 21.4232
[9 empty] | A | B | C | A | B | C | A | B | C | A | B | C | A | B | C
[9 empty] | 7348.1705 | 7260.8038 | 7792.218 | 5279.9304 | 4981.0023 | 5073.5613 | 2900.9799 | 1534.2358 | 1151.5673 | 0.54944 | 0.30802 | 0.22697 | 0.71854 | 0.68601 | 0.65111
DTXSID7060332 | (Perfluorobutyryl)-2-thenoylmethane | 812 | 559-94-4 | 0.0062846 | 0.00012706 | 2.0218 | 1.2778 | Run-specific Avg | 6162.6241 |  |  | 7530.0814 |  |  | 42.4264 |  |  | 0.0062846 |  |  | 1.2219 |  |  | 0.4246
[8 empty] | Run-specific CV | [9 empty] | 2.0218
[9 empty] | A | B | C | A | B | C | A | B | C | A | B | C | A | B | C
[9 empty] | 5367.1219 | 5230.7868 | 7889.9635 | 9085.8638 | 6655.658 | 6848.7223 | 80.3797 | 42.4264 | 42.4264 | 0.0088467 | 0.0063745 | 0.0061948 | 1.6929 | 1.2724 | 0.86803
DTXSID5023792 | 4-Nitrotoluene | 4NT | 99-99-0 | 0.095948 | 0.015828 | 16.4969 | 0.95736 | Run-specific Avg | 10546.1086 |  |  | 10095.7072 |  |  | 893.3271 |  |  | 0.089139 |  |  | 0.95729 |  |  | 0.04594
[8 empty] | Run-specific CV | [9 empty] | 16.7483
[9 empty] | A | B | C | A | B | C | A | B | C | A | B | C | A | B | C
[8 empty] | S2 | 10465.1722 | 10463.4379 | 10709.7156 | 10214.7946 | 9914.6848 | 10157.6424 | 1119.199 | 988.4457 | 798.2084 | 0.10957 | 0.099695 | 0.078582 | 0.97608 | 0.94756 | 0.94845
something appears off w/ AFS2a- exclude
fu>1, clearly there's a stability issue in the plasma that isn't present in the AF
fu<0.0063, based on eLOQ
stability<50%

## SampleIDs
[9 empty] | Total # Samples: | 62
Sample
| Name | Comment | Info. | Data File | Type | Level | Acq. Date-Time | Exp. Conc.
| UCCC15 |  |  | 7010_3_111621009.D | Cal | 15 | 2021-11-16 15:22 | 5000
| UCCC14 |  |  | 7010_3_111621010.D | Cal | 14 | 2021-11-16 15:55 | 3500
| UCCC13 |  |  | 7010_3_111621011.D | Cal | 13 | 2021-11-16 16:27 | 2500
| UCCC12 |  |  | 7010_3_111621012.D | Cal | 12 | 2021-11-16 17:00 | 1500
| UCCC11 |  |  | 7010_3_111621013.D | Cal | 11 | 2021-11-16 17:33 | 800
| UCCC10 |  |  | 7010_3_111621014.D | Cal | 10 | 2021-11-16 18:05 | 500
| UCCC9 |  |  | 7010_3_111621015.D | Cal | 9 | 2021-11-16 18:38 | 350
| UCCC8 |  |  | 7010_3_111621016.D | Cal | 8 | 2021-11-16 19:11 | 200
| UCCC7 |  |  | 7010_3_111621017.D | Cal | 7 | 2021-11-16 19:44 | 125
| UCCC6 |  |  | 7010_3_111621018.D | Cal | 6 | 2021-11-16 20:16 | 80
| UCCC5 |  |  | 7010_3_111621019.D | Cal | 5 | 2021-11-16 20:49 | 50
| UCCC4 |  |  | 7010_3_111621020.D | Cal | 4 | 2021-11-16 21:22 | 30
| UCCC3 |  |  | 7010_3_111621021.D | Cal | 3 | 2021-11-16 21:54 | 20
| UCCC2 |  |  | 7010_3_111621022.D | Cal | 2 | 2021-11-16 22:27 | 12
| UCCC1 |  |  | 7010_3_111621023.D | Cal | 1 | 2021-11-16 23:00 | 7
| UCCC spike |  |  | 7010_3_111621000.D | MatrixBlank |  | 2021-11-16 10:27
| UCCC spike |  |  | 7010_3_111621001.D | MatrixBlank |  | 2021-11-16 11:00
| UCCC spike |  |  | 7010_3_111621002.D | MatrixBlank |  | 2021-11-16 11:33
| UCCC spike |  |  | 7010_3_111621003.D | MatrixBlank |  | 2021-11-16 12:05
| UCCC spike |  |  | 7010_3_111621004.D | MatrixBlank |  | 2021-11-16 12:38
| UCCC spike |  |  | 7010_3_111621024.D | MatrixSpike |  | 2021-11-16 23:33
| UCCC spike |  |  | 7010_3_111621036.D | MatrixSpike |  | 2021-11-17 06:05
| UCCC15 |  |  | 7010_3_111621005.D | QC | 15 | 2021-11-16 13:11 | 5000
| UCCC15 |  |  | 7010_3_111621006.D | QC | 15 | 2021-11-16 13:44 | 5000
| UCCC15 |  |  | 7010_3_111621007.D | QC | 15 | 2021-11-16 14:16 | 5000
| UCCC15 |  |  | 7010_3_111621008.D | QC | 15 | 2021-11-16 14:49 | 5000
| UCG8QCCC5 |  |  | 7010_3_111621025.D | QC | 5 | 2021-11-17 00:05 | 50
| UCG8QCCC8 |  |  | 7010_3_111621026.D | QC | 8 | 2021-11-17 00:38 | 200
| UCG8QCCC11 |  |  | 7010_3_111621027.D | QC | 11 | 2021-11-17 01:11 | 800
| UCCC7 |  |  | 7010_3_111621028.D | QC | 7 | 2021-11-17 01:43 | 125
| UCCC10 |  |  | 7010_3_111621035.D | QC | 10 | 2021-11-17 05:32 | 500
| UCCC4 |  |  | 7010_3_111621046.D | QC | 4 | 2021-11-17 11:32 | 30
| UCCC9 |  |  | 7010_3_111621050.D | QC | 9 | 2021-11-17 13:43 | 350
| UCG8 S2 T1a |  |  | 7010_3_111621029.D | Sample |  | 2021-11-17 02:16
| UCG8 S2 T1b |  |  | 7010_3_111621030.D | Sample |  | 2021-11-17 02:49
| UCG8 S2 T1c |  |  | 7010_3_111621031.D | Sample |  | 2021-11-17 03:21
| UCG8 S2 T5a |  |  | 7010_3_111621032.D | Sample |  | 2021-11-17 03:54
| UCG8 S2 T5b |  |  | 7010_3_111621033.D | Sample |  | 2021-11-17 04:27
| UCG8 S2 T5c |  |  | 7010_3_111621034.D | Sample |  | 2021-11-17 05:00
| UCG8 S2 AFa |  |  | 7010_3_111621037.D | Sample |  | 2021-11-17 06:38
| UCG8 S2 AFb |  |  | 7010_3_111621038.D | Sample |  | 2021-11-17 07:10
| UCG8 S2 AFc |  |  | 7010_3_111621039.D | Sample |  | 2021-11-17 07:43
| UCG8 S1 T1a |  |  | 7010_3_111621040.D | Sample |  | 2021-11-17 08:16
| UCG8 S1 T1b |  |  | 7010_3_111621041.D | Sample |  | 2021-11-17 08:49
| UCG8 S1 T1c |  |  | 7010_3_111621042.D | Sample |  | 2021-11-17 09:21
| UCG8 S1 T5a |  |  | 7010_3_111621043.D | Sample |  | 2021-11-17 09:54
| UCG8 S1 T5b |  |  | 7010_3_111621044.D | Sample |  | 2021-11-17 10:27
| UCG8 S1 T5c |  |  | 7010_3_111621045.D | Sample |  | 2021-11-17 10:59
| UCG8 S1 AFa |  |  | 7010_3_111621047.D | Sample |  | 2021-11-17 12:05
| UCG8 S1 AFb |  |  | 7010_3_111621048.D | Sample |  | 2021-11-17 12:37
| UCG8 S1 AFc |  |  | 7010_3_111621049.D | Sample |  | 2021-11-17 13:10
| UCG6 7/19 S2 AFb | E:\Shark Tank\Group6_072821 |  | 36 | 7010_2_072121046.D | Sample |  | 2021-07-29 07:05
| UCG6 7/19 S2 AFc | E:\Shark Tank\Group6_072821 |  | 37 | 7010_2_072121047.D | Sample |  | 2021-07-29 07:30
| UCG6 7/19 S1 T1a | E:\Shark Tank\Group6_072821 |  | 38 | 7010_2_072121048.D | Sample |  | 2021-07-29 07:56
| UCG6 7/19 S1 T1b | E:\Shark Tank\Group6_072821 |  | 39 | 7010_2_072121049.D | Sample |  | 2021-07-29 08:22
| UCG6 7/19 S1 T1c | E:\Shark Tank\Group6_072821 |  | 40 | 7010_2_072121050.D | Sample |  | 2021-07-29 08:47
| UCG6 7/19 S1 T5a | E:\Shark Tank\Group6_072821 |  | 41 | 7010_2_072121051.D | Sample |  | 2021-07-29 09:13
| UCG6 7/19 S1 T5b | E:\Shark Tank\Group6_072821 |  | 42 | 7010_2_072121052.D | Sample |  | 2021-07-29 09:39
| UCG6 7/19 S1 T5c | E:\Shark Tank\Group6_072821 |  | 43 | 7010_2_072121053.D | Sample |  | 2021-07-29 10:04
| UCG6 7/19 S1 AFa | E:\Shark Tank\Group6_072821 |  | 44 | 7010_2_072121057.D | Sample |  | 2021-07-29 11:47
| UCG6 7/19 S1 AFb | E:\Shark Tank\Group6_072821 |  | 45 | 7010_2_072121058.D | Sample |  | 2021-07-29 12:13
| UCG6 7/19 S1 AFc | E:\Shark Tank\Group6_072821 |  | 46 | 7010_2_072121059.D | Sample |  | 2021-07-29 12:39

## CC,eLOQ
[9 empty] | 513 Method |  | 513 Results |  |  |  | MFBET (ISTD) Results |  | 268 Method |  | 268 Results |  |  |  | MFBET (ISTD) Results |  | 275 Method |  | 275 Results |  |  |  | MFOET (ISTD) Results |  | 4NT Method |  | 4NT Results |  |  |  | 4NT13C6 (ISTD) Results |  | 812 Method |  | 812 Results |  |  |  | MFOET (ISTD) Results
Flag for outside eLOQ criteria | >130% | <70% | 7a | Name | Data File | Type | Level | Acq. Date-Time | Exp. Conc. | Exp. Conc. Post-Crash | Final Conc. | RT | Area | Accuracy | RT | Resp. | Exp. Conc. | Exp. Conc. Post-Crash | Final Conc. | RT | Area | Accuracy | RT | Resp. | Exp. Conc. | Exp. Conc. Post-Crash | Final Conc. | RT | Area | Accuracy | RT | Resp. | Exp. Conc. | Exp. Conc. Post-Crash | Final Conc. | RT | Area | Accuracy | RT | Resp. | Exp. Conc. | Exp. Conc. Post-Crash | Final Conc. | RT | Area | Accuracy | RT | Resp.
|  |  |  | UCCC15 | 7010_3_111621009.D | Cal | 15 | 2021-11-16 15:22 | 5000 | 1250 | 4667.8222 | 6.3626 | 388506.6708 | 93.3564 | 8.1783 | 26676.8484 | 5000 | 1250 | 5106.7768 | 7.4504 | 1299010.1348 | 102.1355 | 8.1783 | 26676.8484 | 5000 | 1250 | 4947.4885 | 13.3252 | 5277025.0463 | 98.9498 | 11.8563 | 7655.4771 | 5000 | 1250 | 5005.9476 | 17.2995 | 5914056.1426 | 100.119 | 17.2987 | 400909.2819 | 5000 | 1250 |  | 18.5138 | 528086.5827 |  | 11.8563 | 7655.4771
Compound | eLOQ (nM) |  |  | UCCC14 | 7010_3_111621010.D | Cal | 14 | 2021-11-16 15:55 | 3500 | 875 | 3980.6868 | 6.3691 | 340469.7443 | 113.7339 | 8.1848 | 26608.3648 | 3500 | 875 | 3413.427 | 7.4634 | 866043.9809 | 97.5265 | 8.1848 | 26608.3648 | 3500 | 875 | 3614.8957 | 13.3226 | 3803736.6753 | 103.2827 | 11.8629 | 7552.358 | 3500 | 875 | 3482.3592 | 17.2995 | 4121280.2548 | 99.496 | 17.2987 | 401490.3182 | 3500 | 875 | 3510.6099 | 18.8301 | 149030.0371 | 100.3031 | 11.8629 | 7552.358
513 | 1.75 |  |  | UCCC13 | 7010_3_111621011.D | Cal | 13 | 2021-11-16 16:27 | 2500 | 625 |  | 6.3756 | 1621.6875 |  | 8.1653 | 0 | 2500 | 625 |  | 7.3981 | 2714.9433 |  | 8.1653 | 0 | 2500 | 625 | 0 | 13.32 | 0 | 0 | 11.8694 | 0 | 2500 | 625 | 2644.3284 | 17.2996 | 10895.8376 | 105.7731 | 17.2944 | 1397.4167 | 2500 | 625 | 0 | 18.6654 | 0 | 0 | 11.8694 | 0
268 | 5 |  |  | UCCC12 | 7010_3_111621012.D | Cal | 12 | 2021-11-16 17:00 | 1500 | 375 | 1451.9305 | 6.3625 | 125465.7309 | 96.7954 | 8.1783 | 24259.5643 | 1500 | 375 | 1366.5058 | 7.4504 | 316100.8193 | 91.1004 | 8.1783 | 24259.5643 | 1500 | 375 | 1513.2483 | 13.3226 | 1413012.7625 | 100.8832 | 11.8563 | 6701.9904 | 1500 | 375 | 1422.2345 | 17.2995 | 1532885.9825 | 94.8156 | 17.2987 | 365119.278 | 1500 | 375 | 1452.1929 | 18.9557 | 58952.5305 | 96.8129 | 11.8563 | 6701.9904
275 | 1.75 |  |  | UCCC11 | 7010_3_111621013.D | Cal | 11 | 2021-11-16 17:33 | 800 | 200 | 697.0919 | 6.3756 | 64496.0517 | 87.1365 | 8.1913 | 25239.268 | 800 | 200 | 741.8879 | 7.4699 | 178544.3846 | 92.736 | 8.1913 | 25239.268 | 800 | 200 | 652.7848 | 13.3226 | 679343.8295 | 81.5981 | 11.8564 | 7469.4308 | 800 | 200 | 756.95 | 17.2995 | 805354.0702 | 94.6188 | 17.2987 | 359662.9522 | 800 | 200 | 707.5793 | 18.8301 | 33336.5181 | 88.4474 | 11.8564 | 7469.4308
812 | 7.5 |  |  | UCCC10 | 7010_3_111621014.D | Cal | 10 | 2021-11-16 18:05 | 500 | 125 | 445.0248 | 6.3626 | 40989.4172 | 89.005 | 8.1783 | 24890.6083 | 500 | 125 | 504.254 | 7.4504 | 119678.4628 | 100.8508 | 8.1783 | 24890.6083 | 500 | 125 | 429.6645 | 13.3213 | 439247.4427 | 85.9329 | 11.8563 | 7337.4921 | 500 | 125 | 495.2487 | 17.2995 | 562742.6173 | 99.0497 | 17.2987 | 383199.9964 | 500 | 125 | 706.3767 | 18.7044 | 32695.1302 | 141.2753 | 11.8563 | 7337.4921
4NT | 1.75 |  |  | UCCC9 | 7010_3_111621015.D | Cal | 9 | 2021-11-16 18:38 | 350 | 87.5 | 414.1612 | 6.3691 | 32826.0079 | 118.3318 | 8.1848 | 21394.3484 | 350 | 87.5 | 398.6971 | 7.4634 | 81334.2155 | 113.9135 | 8.1848 | 21394.3484 | 350 | 87.5 | 349.9757 | 13.3213 | 346550.0617 | 99.9931 | 11.8564 | 7107.1581 | 350 | 87.5 | 358.7651 | 17.2996 | 398814.1915 | 102.5043 | 17.2987 | 373904.9527 | 350 | 87.5 | 348.3878 | 18.9428 | 16354.7576 | 99.5394 | 11.8564 | 7107.1581
|  |  |  | UCCC8 | 7010_3_111621016.D | Cal | 8 | 2021-11-16 19:11 | 200 | 50 | 200.684 | 6.3691 | 18407.282 | 100.342 | 8.1848 | 24564.0955 | 200 | 50 | 188.2662 | 7.4569 | 44096.5123 | 94.1331 | 8.1848 | 24564.0955 | 200 | 50 | 183.8857 | 13.3226 | 185899.0439 | 91.9428 | 11.8563 | 7255.9981 | 200 | 50 | 191.5391 | 17.2995 | 213618.0394 | 95.7695 | 17.2987 | 372044.57 | 200 | 50 | 245.5595 | 18.8301 | 12144.257 | 122.7797 | 11.8563 | 7255.9981
|  |  |  | UCCC7 | 7010_3_111621017.D | Cal | 7 | 2021-11-16 19:44 | 125 | 31.25 | 109.4314 | 6.3691 | 10647.6582 | 87.5451 | 8.1848 | 25970.4556 | 125 | 31.25 | 113.2094 | 7.4699 | 28034.5206 | 90.5675 | 8.1848 | 25970.4556 | 125 | 31.25 | 115.1801 | 13.3226 | 119049.9705 | 92.1441 | 11.8563 | 7418.5601 | 125 | 31.25 | 125.6207 | 17.2995 | 141108.6239 | 100.4966 | 17.2987 | 371282.3981 | 125 | 31.25 | 127.3513 | 19.0944 | 7030.0755 | 101.8811 | 11.8563 | 7418.5601
|  |  |  | UCCC6 | 7010_3_111621018.D | Cal | 6 | 2021-11-16 20:16 | 80 | 20 | 85.4577 | 6.3691 | 7964.4243 | 106.8222 | 8.1783 | 24853.5632 | 80 | 20 | 85.5448 | 7.4569 | 20272.7928 | 106.931 | 8.1783 | 24853.5632 | 80 | 20 | 62.6741 | 13.3213 | 64133.7764 | 78.3426 | 11.8563 | 7344.5718 | 80 | 20 | 73.1628 | 17.2995 | 84811.6862 | 91.4535 | 17.2987 | 375972.4054 | 80 | 20 | 87.0804 | 19.0814 | 5134.8134 | 108.8505 | 11.8563 | 7344.5718
|  |  |  | UCCC5 | 7010_3_111621019.D | Cal | 5 | 2021-11-16 20:49 | 50 | 12.5 | 45.9724 | 6.356 | 4063.9979 | 91.9449 | 8.1783 | 23540.3705 | 50 | 12.5 | 55.7021 | 7.4569 | 12503.0577 | 111.4043 | 8.1783 | 23540.3705 | 50 | 12.5 | 39.3153 | 13.32 | 41711.366 | 78.6306 | 11.8563 | 7614.8422 | 50 | 12.5 | 44.5654 | 17.2995 | 53813.6425 | 89.1308 | 17.2944 | 380668.2767 | 50 | 12.5 | 38.9901 | 18.9644 | 3058.1891 | 77.9803 | 11.8563 | 7614.8422
|  |  |  | UCCC4 | 7010_3_111621020.D | Cal | 4 | 2021-11-16 21:22 | 30 | 7.5 | 23.8439 | 6.4148 | 2089.4857 | 79.4798 | 8.1848 | 23316.7175 | 30 | 7.5 | 29.3079 | 7.4569 | 6516.0279 | 97.6929 | 8.1848 | 23316.7175 | 30 | 7.5 | 25.7246 | 13.3226 | 21965.5262 | 85.7487 | 11.8564 | 6128.5906 | 30 | 7.5 | 32.2751 | 17.2995 | 34376.7393 | 107.5835 | 17.2987 | 326856.7565 | 30 | 7.5 | 28.8729 | 19.1334 | 2077.0407 | 96.243 | 11.8564 | 6128.5906
|  |  |  | UCCC3 | 7010_3_111621021.D | Cal | 3 | 2021-11-16 21:54 | 20 | 5 | 24.7563 | 6.3691 | 2450.6121 | 123.7816 | 8.1913 | 26339.5787 | 20 | 5 | 19.3478 | 7.4764 | 4859.2677 | 96.7388 | 8.1913 | 26339.5787 | 20 | 5 | 19.2117 | 13.3213 | 19707.4472 | 96.0587 | 11.8564 | 7362.6093 | 20 | 5 | 19.9432 | 17.3039 | 26946.5048 | 99.716 | 17.2987 | 391328.718 | 20 | 5 | 0 | 18.4878 | 0 | 0 | 11.8564 | 7362.6093
|  |  |  | UCCC2 | 7010_3_111621022.D | Cal | 2 | 2021-11-16 22:27 | 12 | 3 | 22.3585 | 6.356 | 2054.6974 | 186.321 | 8.1783 | 24450.4581 | 12 | 3 | 0 | 8.1814 | 0 | 0 | 8.1783 | 24450.4581 | 12 | 3 | 12.9054 | 13.3213 | 13009.832 | 107.545 | 11.8564 | 7235.4896 | 12 | 3 | 13.673 | 17.2996 | 19548.5064 | 113.9419 | 17.2987 | 387908.7305 | 12 | 3 | 0 | 18.4964 | 0 | 0 | 11.8564 | 7235.4896
|  |  |  | UCCC1 | 7010_3_111621023.D | Cal | 1 | 2021-11-16 23:00 | 7 | 1.75 | 7.8089 | 6.3756 | 676.9225 | 111.5555 | 8.1913 | 23051.6096 | 7 | 1.75 | 0 | 8.1944 | 0 | 0 | 8.1913 | 23051.6096 | 7 | 1.75 | 7.3325 | 13.3213 | 6504.6562 | 104.7504 | 11.8563 | 6367.0529 | 7 | 1.75 | 7.3872 | 17.2995 | 10542.5432 | 105.5317 | 17.2987 | 330650.8496 | 7 | 1.75 | 0 | 18.5224 | 0 | 0 | 11.8563 | 6367.0529

## Data
Sample | [7 empty] | 513 Method | 513 Results |  |  |  |  | MFBET (ISTD) Results |  | 268 Method | 268 Results |  |  |  |  | MFBET (ISTD) Results |  | 275 Method | 275 Results |  |  |  |  | MFOET (ISTD) Results |  | 4NT Method | 4NT Results |  |  |  |  | 4NT13C6 (ISTD) Results |  | 812 Method | 812 Results |  |  |  |  | MFOET (ISTD) Results
| Name | Comment | Info. | Data File | Type | Level | Acq. Date-Time | Exp. Conc. | Final Conc. | Final Conc. Post-Crash | RT | Area | Accuracy | RT | Resp. | Exp. Conc. | Final Conc. | Final Conc. Post-Crash | RT | Area | Accuracy | RT | Resp. | Exp. Conc. | Final Conc. | Final Conc. Post-Crash | RT | Area | Accuracy | RT | Resp. | Exp. Conc. | Final Conc. | Final Conc. Post-Crash | RT | Area | Accuracy | RT | Resp. | Exp. Conc. | Final Conc. | Final Conc. Post-Crash | RT | Area | Accuracy | RT | Resp.
| UCCC15 |  |  | 7010_3_111621009.D | Cal | 15 | 2021-11-16 15:22 | 5000 | 4667.8222 | 1166.9556 | 6.3626 | 388506.6708 | 93.3564 | 8.1783 | 26676.8484 | 5000 | 5106.7768 | 1276.6942 | 7.4504 | 1299010.1348 | 102.1355 | 8.1783 | 26676.8484 | 5000 | 4947.4885 | 1236.8721 | 13.3252 | 5277025.0463 | 98.9498 | 11.8563 | 7655.4771 | 5000 | 5005.9476 | 1251.4869 | 17.2995 | 5914056.1426 | 100.119 | 17.2987 | 400909.2819 | 5000 |  | 0 | 18.5138 | 528086.5827 |  | 11.8563 | 7655.4771
| UCCC14 |  |  | 7010_3_111621010.D | Cal | 14 | 2021-11-16 15:55 | 3500 | 3980.6868 | 995.1717 | 6.3691 | 340469.7443 | 113.7339 | 8.1848 | 26608.3648 | 3500 | 3413.427 | 853.3568 | 7.4634 | 866043.9809 | 97.5265 | 8.1848 | 26608.3648 | 3500 | 3614.8957 | 903.7239 | 13.3226 | 3803736.6753 | 103.2827 | 11.8629 | 7552.358 | 3500 | 3482.3592 | 870.5898 | 17.2995 | 4121280.2548 | 99.496 | 17.2987 | 401490.3182 | 3500 | 3510.6099 | 877.6525 | 18.8301 | 149030.0371 | 100.3031 | 11.8629 | 7552.358
| UCCC13 |  |  | 7010_3_111621011.D | Cal | 13 | 2021-11-16 16:27 | 2500 |  | 0 | 6.3756 | 1621.6875 |  | 8.1653 | 0 | 2500 |  | 0 | 7.3981 | 2714.9433 |  | 8.1653 | 0 | 2500 | 0 | 0 | 13.32 | 0 | 0 | 11.8694 | 0 | 2500 | 2644.3284 | 661.0821 | 17.2996 | 10895.8376 | 105.7731 | 17.2944 | 1397.4167 | 2500 | 0 | 0 | 18.6654 | 0 | 0 | 11.8694 | 0
| UCCC12 |  |  | 7010_3_111621012.D | Cal | 12 | 2021-11-16 17:00 | 1500 | 1451.9305 | 362.9826 | 6.3625 | 125465.7309 | 96.7954 | 8.1783 | 24259.5643 | 1500 | 1366.5058 | 341.6265 | 7.4504 | 316100.8193 | 91.1004 | 8.1783 | 24259.5643 | 1500 | 1513.2483 | 378.3121 | 13.3226 | 1413012.7625 | 100.8832 | 11.8563 | 6701.9904 | 1500 | 1422.2345 | 355.5586 | 17.2995 | 1532885.9825 | 94.8156 | 17.2987 | 365119.278 | 1500 | 1452.1929 | 363.0482 | 18.9557 | 58952.5305 | 96.8129 | 11.8563 | 6701.9904
| UCCC11 |  |  | 7010_3_111621013.D | Cal | 11 | 2021-11-16 17:33 | 800 | 697.0919 | 174.273 | 6.3756 | 64496.0517 | 87.1365 | 8.1913 | 25239.268 | 800 | 741.8879 | 185.472 | 7.4699 | 178544.3846 | 92.736 | 8.1913 | 25239.268 | 800 | 652.7848 | 163.1962 | 13.3226 | 679343.8295 | 81.5981 | 11.8564 | 7469.4308 | 800 | 756.95 | 189.2375 | 17.2995 | 805354.0702 | 94.6188 | 17.2987 | 359662.9522 | 800 | 707.5793 | 176.8948 | 18.8301 | 33336.5181 | 88.4474 | 11.8564 | 7469.4308
| UCCC10 |  |  | 7010_3_111621014.D | Cal | 10 | 2021-11-16 18:05 | 500 | 445.0248 | 111.2562 | 6.3626 | 40989.4172 | 89.005 | 8.1783 | 24890.6083 | 500 | 504.254 | 126.0635 | 7.4504 | 119678.4628 | 100.8508 | 8.1783 | 24890.6083 | 500 | 429.6645 | 107.4161 | 13.3213 | 439247.4427 | 85.9329 | 11.8563 | 7337.4921 | 500 | 495.2487 | 123.8122 | 17.2995 | 562742.6173 | 99.0497 | 17.2987 | 383199.9964 | 500 | 706.3767 | 176.5942 | 18.7044 | 32695.1302 | 141.2753 | 11.8563 | 7337.4921
| UCCC9 |  |  | 7010_3_111621015.D | Cal | 9 | 2021-11-16 18:38 | 350 | 414.1612 | 103.5403 | 6.3691 | 32826.0079 | 118.3318 | 8.1848 | 21394.3484 | 350 | 398.6971 | 99.6743 | 7.4634 | 81334.2155 | 113.9135 | 8.1848 | 21394.3484 | 350 | 349.9757 | 87.4939 | 13.3213 | 346550.0617 | 99.9931 | 11.8564 | 7107.1581 | 350 | 358.7651 | 89.6913 | 17.2996 | 398814.1915 | 102.5043 | 17.2987 | 373904.9527 | 350 | 348.3878 | 87.097 | 18.9428 | 16354.7576 | 99.5394 | 11.8564 | 7107.1581
| UCCC8 |  |  | 7010_3_111621016.D | Cal | 8 | 2021-11-16 19:11 | 200 | 200.684 | 50.171 | 6.3691 | 18407.282 | 100.342 | 8.1848 | 24564.0955 | 200 | 188.2662 | 47.0665 | 7.4569 | 44096.5123 | 94.1331 | 8.1848 | 24564.0955 | 200 | 183.8857 | 45.9714 | 13.3226 | 185899.0439 | 91.9428 | 11.8563 | 7255.9981 | 200 | 191.5391 | 47.8848 | 17.2995 | 213618.0394 | 95.7695 | 17.2987 | 372044.57 | 200 | 245.5595 | 61.3899 | 18.8301 | 12144.257 | 122.7797 | 11.8563 | 7255.9981
| UCCC7 |  |  | 7010_3_111621017.D | Cal | 7 | 2021-11-16 19:44 | 125 | 109.4314 | 27.3579 | 6.3691 | 10647.6582 | 87.5451 | 8.1848 | 25970.4556 | 125 | 113.2094 | 28.3023 | 7.4699 | 28034.5206 | 90.5675 | 8.1848 | 25970.4556 | 125 | 115.1801 | 28.795 | 13.3226 | 119049.9705 | 92.1441 | 11.8563 | 7418.5601 | 125 | 125.6207 | 31.4052 | 17.2995 | 141108.6239 | 100.4966 | 17.2987 | 371282.3981 | 125 | 127.3513 | 31.8378 | 19.0944 | 7030.0755 | 101.8811 | 11.8563 | 7418.5601
| UCCC6 |  |  | 7010_3_111621018.D | Cal | 6 | 2021-11-16 20:16 | 80 | 85.4577 | 21.3644 | 6.3691 | 7964.4243 | 106.8222 | 8.1783 | 24853.5632 | 80 | 85.5448 | 21.3862 | 7.4569 | 20272.7928 | 106.931 | 8.1783 | 24853.5632 | 80 | 62.6741 | 15.6685 | 13.3213 | 64133.7764 | 78.3426 | 11.8563 | 7344.5718 | 80 | 73.1628 | 18.2907 | 17.2995 | 84811.6862 | 91.4535 | 17.2987 | 375972.4054 | 80 | 87.0804 | 21.7701 | 19.0814 | 5134.8134 | 108.8505 | 11.8563 | 7344.5718
| UCCC5 |  |  | 7010_3_111621019.D | Cal | 5 | 2021-11-16 20:49 | 50 | 45.9724 | 11.4931 | 6.356 | 4063.9979 | 91.9449 | 8.1783 | 23540.3705 | 50 | 55.7021 | 13.9255 | 7.4569 | 12503.0577 | 111.4043 | 8.1783 | 23540.3705 | 50 | 39.3153 | 9.8288 | 13.32 | 41711.366 | 78.6306 | 11.8563 | 7614.8422 | 50 | 44.5654 | 11.1413 | 17.2995 | 53813.6425 | 89.1308 | 17.2944 | 380668.2767 | 50 | 38.9901 | 9.7475 | 18.9644 | 3058.1891 | 77.9803 | 11.8563 | 7614.8422
| UCCC4 |  |  | 7010_3_111621020.D | Cal | 4 | 2021-11-16 21:22 | 30 | 23.8439 | 5.961 | 6.4148 | 2089.4857 | 79.4798 | 8.1848 | 23316.7175 | 30 | 29.3079 | 7.327 | 7.4569 | 6516.0279 | 97.6929 | 8.1848 | 23316.7175 | 30 | 25.7246 | 6.4312 | 13.3226 | 21965.5262 | 85.7487 | 11.8564 | 6128.5906 | 30 | 32.2751 | 8.0688 | 17.2995 | 34376.7393 | 107.5835 | 17.2987 | 326856.7565 | 30 | 28.8729 | 7.2182 | 19.1334 | 2077.0407 | 96.243 | 11.8564 | 6128.5906
| UCCC3 |  |  | 7010_3_111621021.D | Cal | 3 | 2021-11-16 21:54 | 20 | 24.7563 | 6.1891 | 6.3691 | 2450.6121 | 123.7816 | 8.1913 | 26339.5787 | 20 | 19.3478 | 4.8369 | 7.4764 | 4859.2677 | 96.7388 | 8.1913 | 26339.5787 | 20 | 19.2117 | 4.8029 | 13.3213 | 19707.4472 | 96.0587 | 11.8564 | 7362.6093 | 20 | 19.9432 | 4.9858 | 17.3039 | 26946.5048 | 99.716 | 17.2987 | 391328.718 | 20 | 0 | 0 | 18.4878 | 0 | 0 | 11.8564 | 7362.6093
| UCCC2 |  |  | 7010_3_111621022.D | Cal | 2 | 2021-11-16 22:27 | 12 | 22.3585 | 5.5896 | 6.356 | 2054.6974 | 186.321 | 8.1783 | 24450.4581 | 12 | 0 | 0 | 8.1814 | 0 | 0 | 8.1783 | 24450.4581 | 12 | 12.9054 | 3.2264 | 13.3213 | 13009.832 | 107.545 | 11.8564 | 7235.4896 | 12 | 13.673 | 3.4183 | 17.2996 | 19548.5064 | 113.9419 | 17.2987 | 387908.7305 | 12 | 0 | 0 | 18.4964 | 0 | 0 | 11.8564 | 7235.4896
| UCCC1 |  |  | 7010_3_111621023.D | Cal | 1 | 2021-11-16 23:00 | 7 | 7.8089 | 1.9522 | 6.3756 | 676.9225 | 111.5555 | 8.1913 | 23051.6096 | 7 | 0 | 0 | 8.1944 | 0 | 0 | 8.1913 | 23051.6096 | 7 | 7.3325 | 1.8331 | 13.3213 | 6504.6562 | 104.7504 | 11.8563 | 6367.0529 | 7 | 7.3872 | 1.8468 | 17.2995 | 10542.5432 | 105.5317 | 17.2987 | 330650.8496 | 7 | 0 | 0 | 18.5224 | 0 | 0 | 11.8563 | 6367.0529
| UCCC spike |  |  | 7010_3_111621000.D | MatrixBlank |  | 2021-11-16 10:27 |  | 0 |  | 6.3365 | 0 |  | 8.1652 | 25949.8446 |  | 0 | 0 | 7.4373 | 0 |  | 8.1652 | 25949.8446 |  | 0.27996 | 0.06999 | 13.307 | 269.9048 |  | 11.8368 | 6919.6695 |  | 0 | 0 | 17.2302 | 0 |  | 17.2857 | 354218.7548 |  | 0 | 0 | 18.7131 | 0 |  | 11.8368 | 6919.6695
| UCCC spike |  |  | 7010_3_111621001.D | MatrixBlank |  | 2021-11-16 11:00 |  | 0 |  | 6.4344 | 0 |  | 8.1848 | 26768.3957 |  | 0 | 0 | 7.483 | 0 |  | 8.1848 | 26768.3957 |  | 0.20149 | 0.050372 | 13.3252 | 197.8076 |  | 11.8563 | 7046.2559 |  | 0 | 0 | 17.3082 | 0 |  | 17.2943 | 352707.0815 |  | 0 | 0 | 18.9254 | 0 |  | 11.8563 | 7046.2559
| UCCC spike |  |  | 7010_3_111621002.D | MatrixBlank |  | 2021-11-16 11:33 |  | 0 |  | 6.4409 | 0 |  | 8.1913 | 23922.9986 |  | 0 | 0 | 8.1879 | 0 |  | 8.1913 | 23922.9986 |  | 0 | 0 | 13.3252 | 0 |  | 11.8563 | 7295.9986 |  | 0 | 0 | 17.2822 | 0 |  | 17.2944 | 332291.5679 |  | 0 | 0 | 18.8301 | 0 |  | 11.8563 | 7295.9986
| UCCC spike |  |  | 7010_3_111621003.D | MatrixBlank |  | 2021-11-16 12:05 |  | 0 |  | 6.2581 | 0 |  | 8.1783 | 23048.2385 |  | 0 | 0 | 8.0704 | 0 |  | 8.1783 | 23048.2385 |  | 0 | 0 | 13.3226 | 0 |  | 11.8564 | 6492.6024 |  | 0 | 0 | 17.3082 | 0 |  | 17.2944 | 348629.5034 |  | 0 | 0 | 18.3968 | 0 |  | 11.8564 | 6492.6024
| UCCC spike |  |  | 7010_3_111621004.D | MatrixBlank |  | 2021-11-16 12:38 |  | 0 |  | 6.3495 | 0 |  | 8.1848 | 26705.3077 |  | 0 | 0 | 8.0965 | 0 |  | 8.1848 | 26705.3077 |  | 0 | 0 | 13.3174 | 0 |  | 11.8563 | 7033.9845 |  | 0 | 0 | 17.2995 | 0 |  | 17.2987 | 356455.8689 |  | 0 | 0 | 18.6871 | 0 |  | 11.8563 | 7033.9845
| UCCC spike |  |  | 7010_3_111621024.D | MatrixSpike |  | 2021-11-16 23:33 |  | 0 |  | 6.356 | 0 |  | 8.1718 | 27209.0852 |  | 0 | 0 | 8.1748 | 0 |  | 8.1718 | 27209.0852 |  | 0 | 0 | 13.3096 | 0 |  | 11.8564 | 7076.2888 |  | 0 | 0 | 17.3082 | 0 |  | 17.2987 | 404389.5029 |  | 0 | 0 | 18.5398 | 0 |  | 11.8564 | 7076.2888
| UCCC spike |  |  | 7010_3_111621036.D | MatrixSpike |  | 2021-11-17 06:05 |  | 0 |  | 6.4082 | 0 |  | 8.1848 | 25809.3108 |  | 0 | 0 | 8.0704 | 0 |  | 8.1848 | 25809.3108 |  | 0 | 0 | 13.3343 | 0 |  | 11.8563 | 8374.301 |  | 0 | 0 | 17.3082 | 0 |  | 17.2943 | 404620.0037 |  | 0 | 0 | 19.3588 | 0 |  | 11.8563 | 8374.301
| UCCC15 |  |  | 7010_3_111621005.D | QC | 15 | 2021-11-16 13:11 | 5000 | 0 |  | 6.3887 | 0 | 0 | 8.4133 | 68.7187 | 5000 | 0 | 0 | 7.4765 | 0 | 0 | 8.4133 | 68.7187 | 5000 | 91.1277 | 22.7819 | 13.3226 | 1007.1707 | 1.8226 | 11.8368 | 79.3269 | 5000 | 0 | 0 | 17.3082 | 0 | 0 | 17.2944 | 265.4035 | 5000 | 0 | 0 | 18.5268 | 0 | 0 | 11.8368 | 79.3269
| UCCC15 |  |  | 7010_3_111621006.D | QC | 15 | 2021-11-16 13:44 | 5000 | 5444.3667 | 1361.0917 | 6.3822 | 394263.8808 | 108.8873 | 8.1979 | 24033.0355 | 5000 | 4645.0149 | 1161.2537 | 7.4699 | 1064453.9544 | 92.9003 | 8.1979 | 24033.0355 | 5000 | 4855.5818 | 1213.8954 | 13.3252 | 4863585.6528 | 97.1116 | 11.8629 | 7189.2436 | 5000 | 4960.1031 | 1240.0258 | 17.2995 | 5149147.8141 | 99.2021 | 17.2987 | 352280.7121 | 5000 | 4659.1628 | 1164.7907 | 18.9254 | 180953.5915 | 93.1833 | 11.8629 | 7189.2436
| UCCC15 |  |  | 7010_3_111621007.D | QC | 15 | 2021-11-16 14:16 | 5000 | 6447.4933 | 1611.8733 | 6.3691 | 419271.9938 | 128.9499 | 8.1718 | 22616.0624 | 5000 | 5457.3813 | 1364.3453 | 7.4504 | 1176880.6803 | 109.1476 | 8.1718 | 22616.0624 | 5000 | 5463.2762 | 1365.819 | 13.3239 | 5479566.3187 | 109.2655 | 11.8629 | 7198.8137 | 5000 | 4984.3142 | 1246.0786 | 17.2995 | 5957808.0155 | 99.6863 | 17.2987 | 405626.9121 | 5000 | 6809.4012 | 1702.3503 | 18.7694 | 245248.4509 | 136.188 | 11.8629 | 7198.8137
| UCCC15 |  |  | 7010_3_111621008.D | QC | 15 | 2021-11-16 14:49 | 5000 | 4546.6671 | 1136.6668 | 6.3756 | 390187.9251 | 90.9333 | 8.1914 | 27360.1818 | 5000 | 4480.2948 | 1120.0737 | 7.4634 | 1168844.4292 | 89.6059 | 8.1914 | 27360.1818 | 5000 | 4900.2437 | 1225.0609 | 13.3252 | 5285238.9208 | 98.0049 | 11.8629 | 7741.3169 | 5000 | 4975.9278 | 1243.982 | 17.2996 | 5636411.3398 | 99.5186 | 17.2944 | 384391.499 | 5000 | 5689.5988 | 1422.3997 | 18.7174 | 229471.8431 | 113.792 | 11.8629 | 7741.3169
| UCG8QCCC5 |  |  | 7010_3_111621025.D | QC | 5 | 2021-11-17 00:05 | 50 | 78.5656 | 19.6414 | 6.3626 | 7632.729 | 157.1313 | 8.1913 | 25901.395 | 50 | 59.7154 | 14.9288 | 7.4699 | 14748.244 | 119.4307 | 8.1913 | 25901.395 | 50 | 44.8211 | 11.2053 | 13.3213 | 46632.8957 | 89.6422 | 11.8564 | 7467.5452 | 50 | 45.2271 | 11.3068 | 17.2995 | 53699.0273 | 90.4543 | 17.2987 | 374692.6001 | 50 | 51.8861 | 12.9715 | 19.0078 | 3595.4374 | 103.7723 | 11.8564 | 7467.5452
| UCG8QCCC8 |  |  | 7010_3_111621026.D | QC | 8 | 2021-11-17 00:38 | 200 | 277.2198 | 69.3049 | 6.3822 | 28080.8887 | 138.6099 | 8.1979 | 27204.1951 | 200 | 194.9148 | 48.7287 | 7.4895 | 50560.5629 | 97.4574 | 8.1979 | 27204.1951 | 200 | 187.3228 | 46.8307 | 13.3239 | 201928.8235 | 93.6614 | 11.8564 | 7737.0526 | 200 | 206.9829 | 51.7457 | 17.2995 | 242607.0549 | 103.4914 | 17.2987 | 391521.4588 | 200 | 159.7028 | 39.9257 | 19.3198 | 8873.1814 | 79.8514 | 11.8564 | 7737.0526
| UCG8QCCC11 |  |  | 7010_3_111621027.D | QC | 11 | 2021-11-17 01:11 | 800 | 1208.1658 | 302.0415 | 6.3626 | 105685.1086 | 151.0207 | 8.1848 | 24329.023 | 800 | 930.7684 | 232.6921 | 7.4699 | 215922.2797 | 116.3461 | 8.1848 | 24329.023 | 800 | 793.8119 | 198.453 | 13.3213 | 810617.0676 | 99.2265 | 11.8564 | 7329.3596 | 800 | 825.1766 | 206.2941 | 17.2995 | 894880.5974 | 103.1471 | 17.2987 | 366738.6843 | 800 | 704.9274 | 176.2319 | 19.2288 | 32595.6403 | 88.1159 | 11.8564 | 7329.3596
| UCCC7 |  |  | 7010_3_111621028.D | QC | 7 | 2021-11-17 01:43 | 125 | 89.7017 | 22.4254 | 6.3691 | 8261.6272 | 71.7613 | 8.1914 | 24565.0874 | 125 | 123.4347 | 30.8587 | 7.4634 | 28912.5603 | 98.7477 | 8.1914 | 24565.0874 | 125 | 112.2703 | 28.0676 | 13.3239 | 113993.437 | 89.8163 | 11.8629 | 7287.5711 | 125 | 120.6338 | 30.1584 | 17.2996 | 130803.008 | 96.507 | 17.2987 | 357999.7012 | 125 | 163.7965 | 40.9491 | 19.2114 | 8541.2041 | 131.0372 | 11.8629 | 7287.5711
| UCCC10 |  |  | 7010_3_111621035.D | QC | 10 | 2021-11-17 05:32 | 500 | 313.9623 | 78.4906 | 6.3691 | 28219.6452 | 62.7925 | 8.1913 | 24172.0122 | 500 | 541.6994 | 135.4249 | 7.4634 | 124853.9565 | 108.3399 | 8.1913 | 24172.0122 | 500 | 509.2104 | 127.3026 | 13.3226 | 450485.4292 | 101.8421 | 11.8564 | 6349.6738 | 500 | 490.2046 | 122.5512 | 17.2995 | 519324.8222 | 98.0409 | 17.2944 | 357248.0652 | 500 | 464.9202 | 116.2301 | 19.3414 | 19097.6416 | 92.984 | 11.8564 | 6349.6738
| UCCC4 |  |  | 7010_3_111621046.D | QC | 4 | 2021-11-17 11:32 | 30 | 30.2051 | 7.5513 | 6.3691 | 2612.0567 | 100.6837 | 8.1783 | 23014.8953 | 30 | 32.4042 | 8.1011 | 7.4699 | 7111.184 | 108.0141 | 8.1783 | 23014.8953 | 30 | 27.8453 | 6.9613 | 13.3213 | 30483.838 | 92.8176 | 11.8563 | 7857.526 | 30 | 30.1583 | 7.5396 | 17.2995 | 40785.4039 | 100.5278 | 17.2944 | 412221.9313 | 30 | 49.7236 | 12.4309 | 19.7921 | 3678.0001 | 165.7452 | 11.8563 | 7857.526
| UCCC9 |  |  | 7010_3_111621050.D | QC | 9 | 2021-11-17 13:43 | 350 | 206.311 | 51.5777 | 6.3756 | 17925.9147 | 58.946 | 8.1913 | 23274.1006 | 350 | 448.672 | 112.168 | 7.4699 | 99571.0317 | 128.192 | 8.1913 | 23274.1006 | 350 | 328.6462 | 82.1615 | 13.3213 | 350880.8151 | 93.8989 | 11.8563 | 7663.0025 | 350 | 362.0609 | 90.5152 | 17.2995 | 418933.606 | 103.446 | 17.2987 | 389226.1275 | 350 | 183.6169 | 45.9042 | 19.3414 | 9914.8073 | 52.462 | 11.8563 | 7663.0025
| UCG8 S2 T1a |  |  | 7010_3_111621029.D | Sample |  | 2021-11-17 02:16 |  | 0 | 0 | 7.1392 | 0 |  | 8.1848 | 31420.9315 |  | 0 | 0 | 8.09 | 0 |  | 8.1848 | 31420.9315 |  | 0 | 0 | 13.3499 | 0 |  | 11.8563 | 9859.8209 |  | 948.721 | 237.1802 | 17.2995 | 1366816.5262 |  | 17.2944 | 487466.8637 |  | 52.5028 | 13.1257 | 19.0338 | 4784.8987 |  | 11.8563 | 9859.8209
| UCG8 S2 T1b |  |  | 7010_3_111621030.D | Sample |  | 2021-11-17 02:49 |  | 277.3697 | 69.3424 | 6.3626 | 26063.3728 |  | 8.1718 | 25236.1631 |  | 386.0301 | 96.5075 | 7.4373 | 92891.4338 |  | 8.1718 | 25236.1631 |  | 366.5251 | 91.6313 | 13.32 | 361042.2014 |  | 11.8564 | 7070.0437 |  | 358.8022 | 89.7005 | 17.2996 | 412523.2131 |  | 17.2987 | 386718.1338 |  | 347.4735 | 86.8684 | 19.4324 | 16230.0239 |  | 11.8564 | 7070.0437
| UCG8 S2 T1c |  |  | 7010_3_111621031.D | Sample |  | 2021-11-17 03:21 |  | 0 | 0 | 6.3691 | 0 |  | 8.1848 | 30735.5747 |  | 0 | 0 | 8.0834 | 0 |  | 8.1848 | 30735.5747 |  | 0 | 0 | 13.3109 | 0 |  | 11.8564 | 8871.4282 |  | 960.4791 | 240.1198 | 17.2995 | 1413994.986 |  | 17.2944 | 498141.3148 |  | 44.4926 | 11.1231 | 19.6274 | 3865.2218 |  | 11.8564 | 8871.4282
| UCG8 S2 T5a |  |  | 7010_3_111621032.D | Sample |  | 2021-11-17 03:54 |  | 0 | 0 | 6.3756 | 0 |  | 8.1979 | 27802.7036 |  | 0 | 0 | 8.1944 | 0 |  | 8.1979 | 27802.7036 |  | 0.097217 | 0.024304 | 13.3317 | 101.9336 |  | 11.8564 | 7525.6041 |  | 1024.4104 | 256.1026 | 17.2995 | 1172437.3606 |  | 17.2987 | 387351.2811 |  | 0 | 0 | 18.4834 | 0 |  | 11.8564 | 7525.6041
| UCG8 S2 T5b |  |  | 7010_3_111621033.D | Sample |  | 2021-11-17 04:27 |  | 0 | 0 | 6.2255 | 0 |  | 8.113 | 197.9599 |  | 0 | 0 | 7.4438 | 0 |  | 8.113 | 197.9599 |  | 0 | 0 | 13.3369 | 0 |  | 11.8563 | 61.2977 |  | 1209.9969 | 302.4992 | 17.2995 | 10207.101 |  | 17.2987 | 2856.4754 |  | 0 | 0 | 18.5311 | 0 |  | 11.8563 | 61.2977
| UCG8 S2 T5c |  |  | 7010_3_111621034.D | Sample |  | 2021-11-17 05:00 |  | 0 | 0 | 6.3821 | 0 |  | 8.1979 | 24121.149 |  | 0 | 0 | 8.0769 | 0 |  | 8.1979 | 24121.149 |  | 0 | 0 | 13.3161 | 0 |  | 11.8563 | 6837.9963 |  | 980.3537 | 245.0884 | 17.2995 | 1080036.1272 |  | 17.2944 | 372803.1023 |  | 0 | 0 | 18.5138 | 0 |  | 11.8563 | 6837.9963
| UCG8 S2 AFa |  |  | 7010_3_111621037.D | Sample |  | 2021-11-17 06:38 |  | 35.8125 | 8.9531 | 6.3821 | 4081.163 |  | 8.1783 | 30335.0863 |  | 149.8675 | 37.4669 | 7.4569 | 43349.4708 |  | 8.1783 | 30335.0863 |  | 32.1299 | 8.0325 | 13.3213 | 45580.2123 |  | 11.8563 | 10182.0327 |  | 413.9565 | 103.4891 | 17.2995 | 579430.0593 |  | 17.2944 | 471408.5168 |  | 0 | 0 | 18.4661 | 0 |  | 11.8563 | 10182.0327
| UCG8 S2 AFb |  |  | 7010_3_111621038.D | Sample |  | 2021-11-17 07:10 |  | 0 | 0 | 6.4082 | 0 |  | 8.1914 | 22742.6695 |  | 17.9247 | 4.4812 | 7.4895 | 3887.0888 |  | 8.1914 | 22742.6695 |  | 2.2415 | 0.56038 | 13.3226 | 2345.2868 |  | 11.8629 | 7509.6298 |  | 401.1501 | 100.2875 | 17.2995 | 441065.4617 |  | 17.2987 | 370197.1199 |  | 0 | 0 | 18.5528 | 0 |  | 11.8629 | 7509.6298
| UCG8 S2 AFc |  |  | 7010_3_111621039.D | Sample |  | 2021-11-17 07:43 |  | 0 | 0 | 6.3756 | 0 |  | 8.1653 | 30638.7552 |  | 8.2937 | 2.0734 | 7.4242 | 2422.9974 |  | 8.1653 | 30638.7552 |  | 2.2711 | 0.56778 | 13.3213 | 2967.2278 |  | 11.8564 | 9377.3855 |  | 415.0385 | 103.7596 | 17.2996 | 572357.6524 |  | 17.2944 | 464450.5879 |  | 0 | 0 | 18.5788 | 0 |  | 11.8564 | 9377.3855
| UCG8 S1 T1a |  |  | 7010_3_111621040.D | Sample |  | 2021-11-17 08:16 |  | 805.8311 | 201.4578 | 6.4017 | 82846.4188 |  | 8.1848 | 28160.3381 |  | 496.5235 | 124.1309 | 7.4634 | 133324.1379 |  | 8.1848 | 28160.3381 |  | 734.817 | 183.7043 | 13.3213 | 883125.2923 |  | 11.8564 | 8626.0307 |  | 1046.5172 | 261.6293 | 17.2996 | 1381891.0053 |  | 17.2944 | 446938.1763 |  | 536.7122 | 134.178 | 19.2721 | 29677.5252 |  | 11.8564 | 8626.0307
| UCG8 S1 T1b |  |  | 7010_3_111621041.D | Sample |  | 2021-11-17 08:49 |  | 739.4251 | 184.8563 | 6.4278 | 90845.794 |  | 8.1783 | 33568.6813 |  | 454.6397 | 113.6599 | 7.4569 | 145523.3929 |  | 8.1783 | 33568.6813 |  | 726.0804 | 181.5201 | 13.3226 | 1004459.8899 |  | 11.8564 | 9929.2352 |  | 1046.3438 | 261.5859 | 17.2996 | 1547576.8882 |  | 17.2944 | 500607.8325 |  | 523.0787 | 130.7697 | 19.3631 | 33346.4794 |  | 11.8564 | 9929.2352
| UCG8 S1 T1c |  |  | 7010_3_111621042.D | Sample |  | 2021-11-17 09:21 |  | 789.4319 | 197.358 | 6.4082 | 95900.6599 |  | 8.1913 | 33254.2361 |  | 477.1223 | 119.2806 | 7.4699 | 151289.1735 |  | 8.1913 | 33254.2361 |  | 779.2218 | 194.8055 | 13.3226 | 992372.6522 |  | 11.8564 | 9140.745 |  | 1070.9716 | 267.7429 | 17.2995 | 1597500.3709 |  | 17.2944 | 504911.8503 |  | 788.9964 | 197.2491 | 19.5104 | 45215.719 |  | 11.8564 | 9140.745
| UCG8 S1 T5a |  |  | 7010_3_111621043.D | Sample |  | 2021-11-17 09:54 |  | 125.7271 | 31.4318 | 6.3691 | 11908.1136 |  | 8.1783 | 25295.3783 |  | 144.2845 | 36.0711 | 7.4504 | 34801.0169 |  | 8.1783 | 25295.3783 |  | 527.993 | 131.9983 | 13.3213 | 580088.6675 |  | 11.8564 | 7885.588 |  | 1021.4795 | 255.3699 | 17.2996 | 1251341.7953 |  | 17.2944 | 414602.0837 |  | 908.5864 | 227.1466 | 19.0035 | 44573.5916 |  | 11.8564 | 7885.588
| UCG8 S1 T5b |  |  | 7010_3_111621044.D | Sample |  | 2021-11-17 10:27 |  | 119.756 | 29.939 | 6.3822 | 12265.6388 |  | 8.1848 | 27347.9549 |  | 128.233 | 32.0583 | 7.4569 | 33439.2058 |  | 8.1848 | 27347.9549 |  | 498.1002 | 124.5251 | 13.3213 | 545143.4191 |  | 11.8564 | 7855.2848 |  | 991.4685 | 247.8671 | 17.2995 | 1202062.2898 |  | 17.2944 | 410288.2746 |  | 665.5658 | 166.3915 | 18.9601 | 33091.1514 |  | 11.8564 | 7855.2848
| UCG8 S1 T5c |  |  | 7010_3_111621045.D | Sample |  | 2021-11-17 10:59 |  | 125.9802 | 31.495 | 6.3821 | 12087.1927 |  | 8.1913 | 25624.4442 |  | 141.5191 | 35.3798 | 7.4699 | 34578.0717 |  | 8.1913 | 25624.4442 |  | 507.3561 | 126.839 | 13.3213 | 526058.861 |  | 11.8564 | 7441.9942 |  | 1015.7642 | 253.9411 | 17.2995 | 1157539.6467 |  | 17.2944 | 385673.6092 |  | 684.8722 | 171.2181 | 18.8864 | 32207.2506 |  | 11.8564 | 7441.9942
| UCG8 S1 AFa |  |  | 7010_3_111621047.D | Sample |  | 2021-11-17 12:05 |  | 1628.8656 | 407.2164 | 6.3821 | 191677.5496 |  | 8.1718 | 33263.2922 |  | 613.9015 | 153.4754 | 7.4438 | 194713.0485 |  | 8.1718 | 33263.2922 |  | 1450.4899 | 362.6225 | 13.3213 | 2026561.0627 |  | 11.8563 | 10027.9665 |  | 559.5995 | 139.8999 | 17.2995 | 902666.7706 |  | 17.2944 | 544419.684 |  | 40.1899 | 10.0475 | 19.2201 | 4101.8554 |  | 11.8563 | 10027.9665
| UCG8 S1 AFb |  |  | 7010_3_111621048.D | Sample |  | 2021-11-17 12:37 |  | 979.5948 | 244.8987 | 6.3887 | 109580.8844 |  | 8.1783 | 30842.3308 |  | 126.5473 | 31.6368 | 7.4504 | 37216.1259 |  | 8.1783 | 30842.3308 |  | 767.1179 | 191.7795 | 13.3226 | 896831.8745 |  | 11.8563 | 8391.0601 |  | 494.2228 | 123.5557 | 17.2995 | 674493.1941 |  | 17.2944 | 460243.4066 |  | 0 | 0 | 19.4931 | 0 |  | 11.8563 | 8391.0601
| UCG8 S1 AFc |  |  | 7010_3_111621049.D | Sample |  | 2021-11-17 13:10 |  | 789.8092 | 197.4523 | 6.4017 | 90601.9201 |  | 8.1848 | 31402.2994 |  | 50.3708 | 12.5927 | 7.4504 | 15082.4356 |  | 8.1848 | 31402.2994 |  | 575.7837 | 143.9459 | 13.3213 | 761208.1522 |  | 11.8564 | 9488.8154 |  | 399.1042 | 99.7761 | 17.2996 | 564882.9138 |  | 17.2944 | 476529.7716 |  | 0 | 0 | 18.5224 | 0 |  | 11.8564 | 9488.8154

## 513 MDL
MDL Calculation
513
Sample | [5 empty] | 513 Results
| Name | Data File | Type | Level | Acq. Date-Time | RT | Final Conc. | Accuracy | Area
| UCCC5 | 7010_3_111621019.D | Cal | 5 | 2021-11-16 20:49 | 6.356 | 68.9425 | 137.885 | 4063.9979
| UCCC5 | 7010_3_111621051.D | Cal | 5 | 2021-11-17 14:15 | 6.3821 | 42.4985 | 84.9969 | 2605.4167
| UCCC5 | 7010_3_111621052.D | Cal | 5 | 2021-11-17 14:48 | 6.3756 | 45.9791 | 91.9581 | 2695.186
| UCCC5 | 7010_3_111621053.D | Cal | 5 | 2021-11-17 15:21 | 6.3625 | 48.5801 | 97.1602 | 2933.7559
| UCCC5 | 7010_3_111621054.D | Cal | 5 | 2021-11-17 15:54 | 6.3756 | 48.1906 | 96.3813 | 2981.9821
| UCCC5 | 7010_3_111621055.D | Cal | 5 | 2021-11-17 16:26 | 6.3691 | 46.5341 | 93.0682 | 2726.7018
| UCCC5 | 7010_3_111621056.D | Cal | 5 | 2021-11-17 16:59 | 6.3822 | 49.2751 | 98.5503 | 2522.3927
[6 empty] | sd | 8.65
Student's t-value at 6 degrees of freedom (0.99 confidence interval) |  |  | 3.143 |  |  | MDL (nM) | 27.19
References:
40 CFR Part 136 | https://www.ecfr.gov/cgi-bin/text-idx?SID=a6bb8a02b6d783f9356758b5ff0ed106&mc=true&node=pt40.25.136&rgn=div5
EPA Definition and Procedure for the Determination of the Method Detection Limit, Revision 2 (December 2016) | [5 empty] | https://www.epa.gov/sites/production/files/2016-12/documents/mdl-procedure_rev2_12-13-2016.pdf

## 268 MDL
MDL Calculation
268
Sample | [5 empty] | 268 Results
| Name | Data File | Type | Level | Acq. Date-Time | RT | Final Conc. | Accuracy | Area
| UCCC5 | 7010_3_111621019.D | Cal | 5 | 2021-11-16 20:49 | 7.4569 | 52.1506 | 104.3012 | 12503.0577
| UCCC5 | 7010_3_111621051.D | Cal | 5 | 2021-11-17 14:15 | 7.4634 | 52.0047 | 104.0093 | 12966.9166
| UCCC5 | 7010_3_111621052.D | Cal | 5 | 2021-11-17 14:48 | 7.4634 | 52.1521 | 104.3042 | 12433.4287
| UCCC5 | 7010_3_111621053.D | Cal | 5 | 2021-11-17 15:21 | 7.4634 | 57.3169 | 114.6338 | 14077.9227
| UCCC5 | 7010_3_111621054.D | Cal | 5 | 2021-11-17 15:54 | 7.4634 | 49.0166 | 98.0331 | 12336.0344
| UCCC5 | 7010_3_111621055.D | Cal | 5 | 2021-11-17 16:26 | 7.4177 | 50.5752 | 101.1503 | 12052.9733
| UCCC5 | 7010_3_111621056.D | Cal | 5 | 2021-11-17 16:59 | 7.4504 | 57.9032 | 115.8064 | 12055.2916
[6 empty] | sd | 3.34
Student's t-value at 6 degrees of freedom (0.99 confidence interval) |  |  | 3.143 |  |  | MDL (nM) | 10.5
References:
40 CFR Part 136 | https://www.ecfr.gov/cgi-bin/text-idx?SID=a6bb8a02b6d783f9356758b5ff0ed106&mc=true&node=pt40.25.136&rgn=div5
EPA Definition and Procedure for the Determination of the Method Detection Limit, Revision 2 (December 2016) | [5 empty] | https://www.epa.gov/sites/production/files/2016-12/documents/mdl-procedure_rev2_12-13-2016.pdf

## 275 MDL
MDL Calculation
275
Sample | [5 empty] | 275 Results
| Name | Data File | Type | Level | Acq. Date-Time | RT | Final Conc. | Accuracy | Area
| UCCC1 | 7010_3_111621057.D | Cal | 1 | 2021-11-17 17:32 | 13.3226 | 7.3877 | 105.5382 | 6900.3261
| UCCC1 | 7010_3_111621058.D | Cal | 1 | 2021-11-17 18:05 | 13.3239 | 7.3468 | 104.9539 | 6506.2055
| UCCC1 | 7010_3_111621059.D | Cal | 1 | 2021-11-17 18:37 | 13.3213 | 6.0385 | 86.2645 | 5753.7177
| UCCC1 | 7010_3_111621060.D | Cal | 1 | 2021-11-17 19:10 | 13.3213 | 7.0642 | 100.9173 | 6585.8724
| UCCC1 | 7010_3_111621061.D | Cal | 1 | 2021-11-17 19:43 | 13.32 | 6.8931 | 98.4731 | 6401.1174
| UCCC1 | 7010_3_111621062.D | Cal | 1 | 2021-11-17 20:15 | 13.32 | 6.8977 | 98.5381 | 6037.9036
| UCCC1 | 7010_3_111621063.D | Cal | 1 | 2021-11-17 20:48 | 13.3213 | 7.3721 | 105.315 | 6314.6649
[6 empty] | sd | 0.48
Student's t-value at 6 degrees of freedom (0.99 confidence interval) |  |  | 3.143 |  |  | MDL (nM) | 1.51
References:
40 CFR Part 136 | https://www.ecfr.gov/cgi-bin/text-idx?SID=a6bb8a02b6d783f9356758b5ff0ed106&mc=true&node=pt40.25.136&rgn=div5
EPA Definition and Procedure for the Determination of the Method Detection Limit, Revision 2 (December 2016) | [5 empty] | https://www.epa.gov/sites/production/files/2016-12/documents/mdl-procedure_rev2_12-13-2016.pdf

## 4NT MDL
MDL Calculation
4NT
Sample | [5 empty] | 4NT Results
| Name | Data File | Type | Level | Acq. Date-Time | RT | Final Conc. | Accuracy | Area
| UCCC1 | 7010_3_111621057.D | Cal | 1 | 2021-11-17 17:32 | 17.2995 | 6.2155 | 88.7925 | 9568.6798
| UCCC1 | 7010_3_111621058.D | Cal | 1 | 2021-11-17 18:05 | 17.2995 | 6.9024 | 98.6054 | 10212.1037
| UCCC1 | 7010_3_111621059.D | Cal | 1 | 2021-11-17 18:37 | 17.2995 | 7.1833 | 102.618 | 11163.4223
| UCCC1 | 7010_3_111621060.D | Cal | 1 | 2021-11-17 19:10 | 17.2995 | 6.9345 | 99.0647 | 10465.1334
| UCCC1 | 7010_3_111621061.D | Cal | 1 | 2021-11-17 19:43 | 17.3039 | 8.553 | 122.1858 | 12838.5884
| UCCC1 | 7010_3_111621062.D | Cal | 1 | 2021-11-17 20:15 | 17.2995 | 6.9623 | 99.4611 | 10206.1433
| UCCC1 | 7010_3_111621063.D | Cal | 1 | 2021-11-17 20:48 | 17.2995 | 6.2491 | 89.2726 | 9340.1246
[6 empty] | sd | 0.78
Student's t-value at 6 degrees of freedom (0.99 confidence interval) |  |  | 3.143 |  |  | MDL (nM) | 2.45
References:
40 CFR Part 136 | https://www.ecfr.gov/cgi-bin/text-idx?SID=a6bb8a02b6d783f9356758b5ff0ed106&mc=true&node=pt40.25.136&rgn=div5
EPA Definition and Procedure for the Determination of the Method Detection Limit, Revision 2 (December 2016) | [5 empty] | https://www.epa.gov/sites/production/files/2016-12/documents/mdl-procedure_rev2_12-13-2016.pdf

## 812 MDL
MDL Calculation
812
Sample | [5 empty] | 812 Results
| Name | Data File | Type | Level | Acq. Date-Time | RT | Final Conc. | Accuracy | Area
| UCCC5 | 7010_3_111621019.D | Cal | 5 | 2021-11-16 20:49 | 18.9644 | 57.4355 | 114.871 | 3264.2142
| UCCC5 | 7010_3_111621051.D | Cal | 5 | 2021-11-17 14:15 | 19.2851 | 57.0045 | 114.0091 | 2840.0556
| UCCC5 | 7010_3_111621052.D | Cal | 5 | 2021-11-17 14:48 | 19.1854 | 54.7245 | 109.449 | 2723.9423
| UCCC5 | 7010_3_111621053.D | Cal | 5 | 2021-11-17 15:21 | 19.9178 | 50.5224 | 101.0449 | 2671.5668
| UCCC5 | 7010_3_111621054.D | Cal | 5 | 2021-11-17 15:54 | 19.3458 | 40.7028 | 81.4057 | 2184.1989
| UCCC5 | 7010_3_111621055.D | Cal | 5 | 2021-11-17 16:26 | 19.4194 | 47.2106 | 94.4213 | 2559.9005
| UCCC5 | 7010_3_111621056.D | Cal | 5 | 2021-11-17 16:59 | 19.3284 | 42.3996 | 84.7992 | 2153.1716
[6 empty] | sd | 6.82
Student's t-value at 6 degrees of freedom (0.99 confidence interval) |  |  | 3.143 |  |  | MDL (nM) | 21.44
References:
40 CFR Part 136 | https://www.ecfr.gov/cgi-bin/text-idx?SID=a6bb8a02b6d783f9356758b5ff0ed106&mc=true&node=pt40.25.136&rgn=div5
EPA Definition and Procedure for the Determination of the Method Detection Limit, Revision 2 (December 2016) | [5 empty] | https://www.epa.gov/sites/production/files/2016-12/documents/mdl-procedure_rev2_12-13-2016.pdf

## ValueList_Helper (hidden)
Sample
Blank
Cal
QC
CC
DoubleBlank
MatrixSpike
MatrixSpikeDup
MatrixBlank
TuneCheck
ResponseCheck